# DG Failure Prediction & Anomaly Detection System

30-Minute Early Warning Framework

## 1. Objective

This project implements a data-driven early warning system for Diesel Generator (DG) assets. It uses historical telemetry and environmental data to detect abnormal behavior and predict potential failures up to 30 minutes in advance.

## 2. Auto Mode Design

The system automatically selects the modeling strategy based on data availability:
- Supervised Mode: Used when failure labels are available.
- Unsupervised Mode: Used when failure labels are not available (current scenario).

## 3. Input Data

Required input files:
- dg.csv: DG telemetry with _time, dev_id, and numeric sensor parameters.
- humidity.csv: Time-based humidity readings.
- temperature.csv: Time-based temperature readings.

## 4. Data Processing Pipeline

Steps:
1. Timestamp parsing and validation.
2. Per-device resampling to 1-minute resolution.
3. Joining humidity and temperature data.
4. Optional failure labeling using DG status.
5. Feature engineering (lags, rolling windows, time features).
6. Leakage removal.

## 5. Model Training

If failures exist, a supervised classifier is trained to predict failures within 30 minutes.
If failures do not exist, an Isolation Forest model is trained to learn normal behavior and produce an anomaly risk score.

## 6. Outputs

- model_artifact.joblib: Trained model.
- model_meta.json: Metadata including features, thresholds, and mode.
- latest_window.csv (optional): Simulated realtime window for testing.

## 7. Realtime Scoring & Alerts

The model outputs a risk score between 0 and 1.
Alert levels:
- NORMAL: risk < p95
- WARNING: p95 ≤ risk < p99
- CRITICAL: risk ≥ p99

## 8. Limitations & Future Enhancements

Current limitation: absence of confirmed failure labels.
Future enhancements include supervised learning, per-device models, streaming integration, dashboards, and API deployment.